## Slide 1
ALIZON SCHOOL OF MEDICAL & DIGITAL INTELLIGENCE
Module 7
Robotics & Automation in Pharmacy Practice
Machines, Workflow and Quality
Certificate Course in Digital Health & Artificial Intelligence for Pharmacy
4 units · 4 assessed practicals · 100 examination questions
ASAP Kerala · www.alizongov.com

## Slide 2
1
MODULE MAP
What this module covers
01
Introduction to Pharmacy Robotics
Introduction to Pharmacy Robotics
02
Automated Dispensing & Storage Systems
Automated Dispensing & Storage Systems
03
Smart Packaging & Medication Tracking
Smart Packaging & Medication Tracking
04
Workflow Optimisation & Quality Assurance
Workflow Optimisation & Quality Assurance
4 assessed practicals
Automation Business Case · Automated Dispensing Cabinet Investigation · Serialisation & Falsified Medicine Trace · Workflow Optimisation & Root Cause
Module 7 · Robotics & Automation in Pharmacy Practice
2

## Slide 3
2
LEARNING OUTCOMES
What you will be able to do
▸
Explain
Introduction to Pharmacy Robotics
▸
Apply
Automated Dispensing & Storage Systems
▸
Describe
Smart Packaging & Medication Tracking
▸
Operate
Workflow Optimisation & Quality Assurance
Assessment · 4 faculty-evaluated practicals + 100-question internal examination (4 units × 25)
Module 7 · Robotics & Automation in Pharmacy Practice
3

## Slide 4
3
UNIT 1 · INTRODUCTION TO PHARMACY ROBOTICS
Integration of robotics and automation
The integration of robotics and automation is transforming modern pharmacy practice by enhancing accuracy, efficiency, and patient safety. As healthcare systems increasingly adopt digital technologies, pharmacies are evolving from traditional dispensing centers into highly automated, data-driven environments.
Module 7 · Robotics & Automation in Pharmacy Practice
4

## Slide 5
4
UNIT 1 · INTRODUCTION TO PHARMACY ROBOTICS
Introduction to Pharmacy Robotics
The module also highlights emerging trends such as AI-powered robotic systems, telepharmacy, and integration with electronic health records (EHRs). Ethical considerations, cost implications, and the future scope of automation in pharmacy practice are also discussed to provide a balanced understanding.
Module 7 · Robotics & Automation in Pharmacy Practice
5

## Slide 6
5
UNIT 1 · INTRODUCTION TO PHARMACY ROBOTICS
Artificial intelligence
Artificial intelligence plays a pivotal role in enhancing the capabilities of pharmacy robotics. AI-driven systems can analyze large volumes of data to identify patterns, predict medication demand, detect potential errors, and support clinical decision-making. For instance, AI algorithms can flag high-risk prescriptions, identify drug interactions, and provide real-time alerts to pharmacists. Machine learning enables these systems to continuously improve their performance by learning from past data, thereby increasing accuracy and efficiency over time.
WHY IT MATTERS
The integration of AI with robotics creates intelligent systems that not only perform tasks but also make informed decisions, significantly improving the quality of pharmacy services.
Module 7 · Robotics & Automation in Pharmacy Practice
6

## Slide 7
6
UNIT 1 · INTRODUCTION TO PHARMACY ROBOTICS
Introduction to Pharmacy Robotics (2)
One of the most significant advantages of robotics and automation in pharmacy practice is the reduction of medication errors. Errors in dispensing and administration can have serious consequences for patient safety. Automated systems incorporate multiple safety features, including barcode verification, real-time monitoring, and automated alerts, to minimize the risk of errors.
WHY IT MATTERS
By standardizing processes and reducing manual handling, these systems ensure consistent and accurate medication delivery.
Module 7 · Robotics & Automation in Pharmacy Practice
7

## Slide 8
7
UNIT 1 · INTRODUCTION TO PHARMACY ROBOTICS
Robotics and automation
In conclusion, robotics and automation are revolutionizing pharmacy practice by enhancing efficiency, accuracy, and patient safety. These technologies enable pharmacies to manage increasing workloads while maintaining high standards of care. By integrating robotics with artificial intelligence and digital health systems, modern pharmacy practice is evolving into a highly sophisticated, patient-centered discipline.
WHY IT MATTERS
This module provides a comprehensive understanding of the principles, technologies, applications, and future directions of robotics and automation in pharmacy practice, preparing learners to adapt to and lead in this rapidly advancing field.
Module 7 · Robotics & Automation in Pharmacy Practice
8

## Slide 9
8
UNIT 2 · AUTOMATED DISPENSING & STORAGE SYSTEMS
Automated dispensing and storage systems
Automated dispensing and storage systems form the backbone of modern pharmacy robotics, enabling safe, efficient, and intelligent medication management across healthcare settings. With the increasing demand for accuracy, speed, and patient safety, traditional manual pharmacy processes are being replaced by advanced automated systems that integrate robotics, artificial intelligence (AI), and real-time data analytics. These systems are designed to minimize human intervention in repetitive and error-prone tasks, ensuring consistent and reliable medication handling while allowing pharmacists to focus on clinical and patient-centered responsibilities.
WHY IT MATTERS
Automated dispensing and storage technologies encompass a wide range of solutions, including automated dispensing cabinets, robotic picking and packaging systems, and smart inventory management platforms, all of which contribute to improved operational efficiency and enhanced healthcare outcomes.
Module 7 · Robotics & Automation in Pharmacy Practice
9

## Slide 10
9
UNIT 2 · AUTOMATED DISPENSING & STORAGE SYSTEMS
Error reduction
Error reduction is one of the most critical advantages of automated dispensing and storage systems. Medication errors can occur at various stages, including prescribing, dispensing, and administration, and can have serious consequences for patient safety. Automated systems incorporate multiple safety features to minimize these risks. Barcode verification ensures that the correct medication is selected and dispensed, while automated alerts notify users of potential errors such as incorrect dosages or drug interactions. Standardized processes reduce variability in medication handling, and reduced manual intervention minimizes the likelihood of human error.
WHY IT MATTERS
These systems also support double-check mechanisms, where critical steps are verified electronically before completion.
Module 7 · Robotics & Automation in Pharmacy Practice
10

## Slide 11
10
UNIT 2 · AUTOMATED DISPENSING & STORAGE SYSTEMS
Benefits and Limitations
Aspect
Benefits
Limitations
Accuracy
Minimizes dispensing errors
System dependency
Efficiency
High-speed operations
High installation cost
Safety
Enhanced patient safety
Technical failures
Inventory
Real-time optimization
Integration challenges
Workforce
Reduced manual workload
Training needs
AI Integration
Predictive insights
Data privacy concerns
Module 7 · Robotics & Automation in Pharmacy Practice
11

## Slide 12
11
UNIT 3 · SMART PACKAGING & MEDICATION TRACKING
Smart packaging and medication tracking technologies
Smart packaging and medication tracking technologies represent a critical advancement in modern pharmacy practice, enabling enhanced safety, traceability, and patient adherence. With the increasing complexity of global pharmaceutical supply chains and the growing risk of counterfeit medications, there is a strong need for robust systems that ensure the authenticity, integrity, and proper use of medications. Smart packaging integrates digital technologies such as barcoding, radio-frequency identification (RFID), sensors, and artificial intelligence (AI) to create intelligent systems capable of monitoring medications throughout their lifecycle—from manufacturing and distribution to dispensing and patient use.
WHY IT MATTERS
These technologies not only improve operational efficiency but also play a vital role in safeguarding public health.
Module 7 · Robotics & Automation in Pharmacy Practice
12

## Slide 13
12
UNIT 3 · SMART PACKAGING & MEDICATION TRACKING
Anti-counterfeiting measures
Anti-counterfeiting measures are a critical component of smart packaging and medication tracking. Counterfeit medications pose a significant threat to public health, as they may contain incorrect or harmful ingredients. Smart packaging technologies incorporate various security features to prevent counterfeiting and ensure product authenticity. These include holograms, tamper-evident seals, QR codes, and digital watermarks. Advanced systems use cryptographic techniques and blockchain technology to verify the authenticity of medications. Patients and healthcare providers can scan QR codes or use mobile applications to verify product details and confirm authenticity.
WHY IT MATTERS
AI-based image recognition systems can also detect counterfeit packaging by analyzing visual features and identifying inconsistencies.
Module 7 · Robotics & Automation in Pharmacy Practice
13

## Slide 14
13
UNIT 3 · SMART PACKAGING & MEDICATION TRACKING
Benefits and Limitations · Unit 3
Aspect
Benefits
Limitations
Safety
Reduced medication errors
Technology dependence
Tracking
Full supply chain visibility
High implementation cost
Authentication
Prevention of counterfeit drugs
Data privacy concerns
Adherence
Improved patient compliance
Requires patient engagement
AI Integration
Predictive insights
Complex system integration
In conclusion, smart packaging and medication tracking technologies are transforming pharmacy practice by enhancing safety, transparency, and patient engagement. The integration of barcoding, RFID, track-and-trace…
Module 7 · Robotics & Automation in Pharmacy Practice
14

## Slide 15
14
UNIT 4 · WORKFLOW OPTIMISATION & QUALITY ASSURANCE
Workflow optimisation and quality assurance
Workflow optimisation and quality assurance are fundamental components of modern pharmacy practice, particularly in an era increasingly driven by automation, robotics, and artificial intelligence (AI). As healthcare systems become more complex and patient demands continue to rise, pharmacies must adopt efficient, standardized, and technology-enabled workflows to ensure safe, timely, and accurate medication delivery. Workflow optimisation focuses on improving the efficiency and coordination of pharmacy processes, while quality assurance ensures that these processes meet established standards of safety, accuracy, and regulatory compliance.
WHY IT MATTERS
Together, they form a critical framework for enhancing patient outcomes and operational excellence.
Module 7 · Robotics & Automation in Pharmacy Practice
15

## Slide 16
15
UNIT 4 · WORKFLOW OPTIMISATION & QUALITY ASSURANCE
Workflow Optimisation & Quality Assurance (2)
Integration with Electronic Health Records (EHR) and pharmacy management software is a key aspect of workflow optimisation. EHR systems provide comprehensive patient information, including medical history, current medications, allergies, and laboratory results. By integrating pharmacy systems with EHRs, pharmacists can access real-time patient data, enabling more informed decision-making and reducing the risk of medication errors.
WHY IT MATTERS
Pharmacy management software further enhances workflow efficiency by automating administrative tasks such as billing, documentation, and reporting.
Module 7 · Robotics & Automation in Pharmacy Practice
16

## Slide 17
16
UNIT 4 · WORKFLOW OPTIMISATION & QUALITY ASSURANCE
Validation of automated systems
Validation of automated systems is particularly important, as it ensures that the technology functions correctly and reliably. This involves testing the system under various conditions to verify its performance and accuracy. Validation processes may include installation qualification (IQ), operational qualification (OQ), and performance qualification (PQ), each of which assesses different aspects of system functionality.
WHY IT MATTERS
Regular calibration and maintenance are also necessary to ensure consistent performance.
Module 7 · Robotics & Automation in Pharmacy Practice
17

## Slide 18
17
UNIT 4 · WORKFLOW OPTIMISATION & QUALITY ASSURANCE
Automated systems
Automated systems support regulatory compliance by maintaining detailed audit trails of all activities. These records provide a comprehensive history of medication handling, including dispensing, inventory updates, and user access. Audit trails enhance transparency and accountability, enabling healthcare organizations to demonstrate compliance during inspections and audits.
WHY IT MATTERS
In addition, automated systems incorporate safety features such as access controls, alerts, and verification mechanisms to ensure adherence to safety standards.
Module 7 · Robotics & Automation in Pharmacy Practice
18

## Slide 19
18
UNIT 4 · WORKFLOW OPTIMISATION & QUALITY ASSURANCE
Benefits and Limitations · Unit 4
Aspect
Benefits
Limitations
Efficiency
Streamlined workflows
Initial setup complexity
Accuracy
Reduced errors
Dependence on technology
Integration
Seamless data flow
Compatibility issues
Quality
Continuous monitoring
Maintenance requirements
Compliance
Improved regulatory adherence
Training needs
AI Integration
Predictive optimization
Data privacy concerns
Module 7 · Robotics & Automation in Pharmacy Practice
19

## Slide 20
THE PRACTICALS
4 assessed practicals
Every practical follows the institutional standard — Aim, Principle, Theory, Requirements, Procedure and Guided Method — and is submitted to faculty for evaluation. Verified practicals count towards the hands-on experience certificate.
1
Module 7 · Unit 1 · Practical 1
Automation Business Case
2
Module 7 · Unit 2 · Practical 1
Automated Dispensing Cabinet Investigation
3
Module 7 · Unit 3 · Practical 2
Serialisation & Falsified Medicine Trace
4
Module 7 · Unit 4 · Practical 3
Workflow Optimisation & Root Cause
Module 7 · Robotics & Automation in Pharmacy Practice
20

## Slide 21
20
MODULE 7 · UNIT 1 · PRACTICAL 1
Automation Business Case
AIM
To appraise a proposal to automate pharmacy picking: to identify the constraint that actually limits throughput, predict the effect of improving a step that is not the constraint, judge whether automation addresses the true source of error, and make a recommendation the board can act on.
PRINCIPLE & THEORY
Throughput is set by the slowest step. Capacity added anywhere else converts into work in progress rather than output. A constraint is the step whose capacity limits the whole process; improving any other step raises work in progress and leaves output unchanged.
PROCEDURE
1
Enter the appraisal as the pharmacist advising the board.
2
Read the sources you judge necessary; each is recorded.
3
Identify the step that constrains throughput.
4
Predict the effect on total output of automating picking.
5
Judge whether automation addresses the actual causes of picking error.
6
Make and record your recommendation.
Module 7 · Robotics & Automation in Pharmacy Practice
21

## Slide 22
21
MODULE 7 · UNIT 2 · PRACTICAL 1
Automated Dispensing Cabinet Investigation
AIM
To investigate a controlled-drug discrepancy reported by an automated dispensing cabinet, establish the true cause from the available evidence, assess the harm caused, and decide the immediate action — distinguishing a systems failure from individual wrongdoing.
PRINCIPLE & THEORY
A cabinet records who removed what and when, so the person named against a discrepancy is highly visible. That person is very often the one who discovered the problem rather than the one who caused it. Automated dispensing cabinets combine controlled access with a complete audit trail.
PROCEDURE
1
Enter the investigation as the responsible pharmacist following an overnight discrepancy flag.
2
Open the evidence sources. Each one you open is recorded, and you may proceed at any point.
3
Identify the cause of the discrepancy from the evidence rather than from who is named.
4
Assess the level of patient harm using the administration record and the nursing observations together.
5
Decide the immediate action and record it.
6
Review the outcome, the marks for each element, and the two indices.
Module 7 · Robotics & Automation in Pharmacy Practice
22

## Slide 23
22
MODULE 7 · UNIT 3 · PRACTICAL 2
Serialisation & Falsified Medicine Trace
AIM
To verify a delivery of serialised packs at goods-in, decide the disposition of each, and demonstrate that a verified scan answers one narrow question rather than establishing that a pack is safe to supply.
PRINCIPLE & THEORY
Serialisation identifies the individual pack rather than the product, and decommissioning at the point of supply is what prevents one genuine serial authenticating an unlimited number of copies. A falsified pack bearing a copied serial will therefore scan as verified; only the register history reveals that the number has already been retired elsewhere. A 2D data matrix carries the product code, batch, expiry and a unique serial.
PROCEDURE
1
Enter goods-in as the pharmacist verifying the delivery.
2
Open each pack and inspect the scan result, the physical condition and the register history; what you open is recorded.
3
Decide a disposition for each pack — accept, quarantine and investigate, or quarantine and escalate as suspected…
4
Select the principal reason for that disposition.
5
Close the delivery and review the outcomes and the two indices.
Module 7 · Robotics & Automation in Pharmacy Practice
23

## Slide 24
23
MODULE 7 · UNIT 4 · PRACTICAL 3
Workflow Optimisation & Root Cause
AIM
To review a workflow redesign reported as a success, judge it on the whole distribution rather than the mean, and carry a near-miss investigation past the individual to a cause the organisation controls.
PRINCIPLE & THEORY
An average conceals the cases that harm patients. A redesign can lower mean turnaround while doubling the slowest five per cent, and the slowest five per cent is where time-critical medicines sit. Turnaround should be monitored as a distribution — median and a high percentile — because the mean is dominated by routine work and hides the extremes.
PROCEDURE
1
Enter the review as the pharmacist asked to appraise the redesign and the near miss together.
2
Read the sources you judge necessary; each is recorded.
3
Decide whether the redesign improved the service, using the distribution rather than the headline.
4
Judge why the deterioration in the tail matters.
5
Determine the root cause of the near miss.
6
Decide what to take back to the board, including the measure by which success will be judged.
Module 7 · Robotics & Automation in Pharmacy Practice
24

## Slide 25
HOW THIS MODULE IS ASSESSED
Completing Module 7
Practicals
Complete all 4 practicals on ALIZON OS. Every submission is evaluated by faculty.
Attendance
Attendance is recorded automatically from submitted work — signing in alone does not count.
Examination
100 multiple-choice questions across 4 units. Practise on the mock paper before the internal examination.
Certificate
Faculty-verified practicals earn a Certificate of Practical Experience, with the hours set by the institution.
Study material, practicals, mock papers and results · alizon.in Institution · www.alizongov.com
Module 7 · Robotics & Automation in Pharmacy Practice
25